## INSTRUCTIONS
GENERAL 2011 GREEN COMMUNITIES CERTIFICATION WORKBOOK INSTRUCTIONS
This document lays out the information required for Green Communities certification throughout the design and construction process. This Excel workbook contains 4 spreadsheet forms (identified by tabs in bottom left corner) that Enterprise requires you to complete to demonstrate your compliance with the Mandatory Criteria and the appropriate number of Optional Criteria. Please note that this is an integrated worksheeted and the completion of some cells will automatically populate cells in later, related tabs. The cells that will be automatically populated have been locked for your ease of use.
Step 1:
The "Project Overview" and "Intended Methods" are required to be completed and submitted for certification before the construction start date of the project.
Step 2:
The "Cost Development" and "Compliance Report" are required to be completed and submitted for final certifiation 60 days after the completion of construction
For additional information and instructions on how to submit for Green Communities Certification, please see the certification website at www.greencommunitiesonline.org/tools/certification/

## PROJECT OVERVIEW
GREEN COMMUNITIES PROJECT OVERVIEW WORKSHEET
Project Name |  |  | <blank> | Organization Name |  | <blank>
Project Address |  |  | <blank> | Organization Contact |  | <blank>
Project Status |  |  | <blank> | Date |  | <blank>
PROJECT OVERVIEW WORKSHEET: This document provides a brief overview of the building, including major systems. It is considered a quick way to assess the context in which the Green Communities criteria will be implemented. Please provide the basic building information as requested below.
This worksheet must be filled out and submitted before the construction start date. For additional information on how to submit, go to www.greencommunitiesonline.org/tools/certification/
**Gray text within the spreadsheet indicates the type of information that could occupy that cell. It is not intended to be left in your final submission documents.
Urban / Small City
| Building Overview | [11 empty] | Suburban / Mid-Size Town
Rural / Tribal / Small Town
| LOCATION + NEIGHBORHOOD FABRIC PATHWAY | For more information see pages 24-26 of the 2011 Enterprise Green Communities Criteria Manual
| BUILDING ENVELOPE | Primary Envelope Material |  | Describe primary building cladding system
|  | Foundation |  | Please identify the assembly type for this component and its associated minimum R-value as required by your building code
|  | Wall(s) |  | Please identify the assembly type for this component and its associated minimum R-value as required by your building code
|  | Roof |  | Please identify the assembly type for this component and its associated minimum R-value as required by your building code
|  | Windows |  | Please indicate U-Value, Air Infiltration rate of window system(s), and the SHGC (solar heat gain coefficient)
|  | Doors |  | Please indicate U-Value and Air Infiltration Rate of exterior doors and entry systems
| MECHANICAL SYSTEMS |  |  | System Type | Fuel Type |  | System Efficiency and Size | Air Source Heat Pump | Air Source Heat Pump | Heat Pump Water Heater | Biomass
|  | Heating System | [5 empty] | Electric Resistance | Ground Source Heat Pump | Stand Alone Individual Tank | Electricity
|  | Cooling System | [5 empty] | Furnace | PTAC | Storage Tank / Boiler | Fuel Oil
|  | Hot Water | [5 empty] | Ground Source Heat Pump | Split-System | Tankless | Natural Gas
|  | Alternative Water Sources |  | If applicable, please identify any systems for alternative water sources and the expected volume to subsidize municipal supply |  |  |  | Hot Water Boiler | Window Unit AC |  | Propane
|  | Ventilation |  | Please identify systems and measures as required by your building code to ensure proper indoor air quality |  |  |  | Passive Solar | Central Chiller |  | Solar
[8 empty] | Solar | Other |  | Other
|  | Building Data | [5 empty] | Steam Boiler | NA
|  | BUILDING DATA |  | Tenancy |  |  |  | Other
Current occupancy percentage
Year of Most Recent Substantial Rehabilitation or Adaptive Reuse
|  |  |  | Does the building contain the following? |  |  |  | Family | Yes | Owner | Master | Electric
|  |  |  | Hallways/lobbies/stairwells |  |  |  | Elderly | No | Tenant | Individual Meters | Natural Gas
|  |  |  | Elevator |  |  |  | Supportive | N/A | Mixed | Master w/ sub meters
|  |  |  | Community room(s) |  |  |  | Mixed Use |  |  | NA
Basement
Laundry room(s)
Office(s)
Commercial kitchen
Exercise room
Swimming pool
Parking garage (indoor)
Parking lot (outdoor)
Irrigated Lawn/Landscaping
Retail Space(s)
Who pays tenant electricity, cooling, heating and hot water?
Electric Meter Type
Natural Gas Meter Type
Water Meter Type
Fuel for Clothes Dryers
Number of units w/ in-unit laundry
Total number of common laundry rooms
Total number of elevators
Building Code(s) and applicable Green Building/Public Incentive Programs
Enter the Building Code(s), Energy Code, Green Building Standard(s), and/or Public Incentive program you are required to build in compliance with.
Building Code
Energy Code
Green Building Standard
Public Incentive Program

## LOCKED (hidden)
1.1 |  | Group called "Directive Type"
A Green Development Plan for the project has been developed per the criteria and is ready to submit
| The Green Development Plan for the project is in the process of being developed and will be submitted prior to funding | Existing Conditions/Infrastructure
Design
2.1a |  | Specification
| Site is adjacent to existing development (bordering 25 percent of the perimeter of the site) and all infrastructure is within 1000' of the site | Change Order
| Site qualifies as an infill or rehab site | Pending Discussion
2.1b
New development will not be within 100 feet of wetlands, critical sloop, prime farmland, public parkland, critical habitat or within the 100 year floodplain
| Site qualifies as an infill or rehab site | Group called "Champion"
2.1c |  | Project Manager
| Site is within 1/4 mile of at least two qualifying services per the criteria | Green Building Specialist
| Site is within 1/2 mile of at least four qualifying services per the criteria | Architect
| Site qualifies as an infill or rehab site | Contractor
Engineer (MEP)
2.2 |  | Energy/System Specialist
Architect certifies that the net density of units per acre (see criteria) is at least 6 for single family and duplex, 10 for townhomes, or 15 for multifamily.
Site qualifies as a rehab site
2.3
Per the criteria, the project connects to the existing pedestrian grid
2.4a
Some, but not all, of the buildings are oriented per the criteria (2 points)
All of the buildings are oriented per the criteria (4 points)
Project will not qualify for these points
2.4b
Site is NOT located on a grayfield, brownfield or adaptive reuse site
Site IS located on a grayfield, brownfield or adaptive reuse site (10 points)
2.5
Architect certifies that the net density of units per acre is at least 7 for single family and duplex, 12 for townhomes, or 20 for multifamily.
Site does not qualify for additional density points
2.6
Site has at least three separate connections (excluding entrances/exits from a single building) to existing sidewalks or all weather pathways in surrounding neighborhood (5 points)
Site does not qualify for these points
2.7
Site is within 1/4 mile of adequate bus service or 1/2 mile of adequate fixed rail or ferry service per the criteria (6 points)
Site is within 1/2 mile of combined transit services constituting 60 or more transit rides per weekday (12 points)
Site is not near qualifying transit services
3.1
Site has passed ASTM Transaction Screen
Site has passed Phase I Environmental Site Assessment
Site will meet requirements of a Phase II abatement plan
Site has not yet been assessed for environmental hazards
3.2
Site will implement EPA's BMP for erosion control at least including measures listed in the criteria
Project will not disturb soils
3.3
Architect or Landscape Architect will provide certified tree or plant list showing at least 50% native species and 100% appropriate species for the site.
3.4
Site will capture, retain, infiltrate or harvest the first 1/2 inch of rainfall in a 24 hour period (5 points)
Site will not qualify for these points
3.5
Project plans and specs will call for labeling storm drains (2 points)
Project will not qualify for these points
4.1a
Project will specify toilets at 1.3 GPF, showerheads, bath and kitchen faucets at 2.0 GPM
Project is not new construction or substantial rehab
4.1b
Project will specify all toilets at 1.3 GPF and showerheads at 2.0 GPM. If replaced, bath and kitchen faucets will be 2.0 GPM
Project is not moderate rehab
4.1c
Project will install toilets at 1.1 GPF, showerheads at 1.75 GPM, kitchen faucets at 2.0 GPM, and Bath faucets at 1.5 GPM, or better (5 points)
Project will not qualify for these points
4.2 | Project will irrigate with recycled gray water or collected rain water or a high efficiency system per the criteria
Project will not use irrigation
5.1a
Project is 3 stories or less and will meet Energy Star standard
Project is 4 stories or more and will exceed ASHRAE 90.1-2004 by 15 percent
Project is in California and will exceed Title 24 (version under which project is permitted) by 15 percent
Project is in Oregon, Washington, Idaho or Montana and will meet NW Energy Star standard
Project is not new construction
5.1b
Project will conduct an energy analysis per the criteria and implement measures to improve building's pre-renovation energy performance by 15 percent
Project is not rehab
5.2
If installing, project will install Energy Star-rated clothes washers, dishwashers, and refrigerators
Project is not installing appliances
5.3a
Project will install Energy Star Advanced Lighting Package in units and at least high efficiency commercial fixtures in common areas and outside
5.3b
Daylight sensors or timers will be installed on all outside lighting including porch lighting in single family homes
5.4
Electric meters or submeters will be installed
Project qualifies as zero bedroom or is designated supportive housing
5.5
Project will exceed required Energy Star HERS score or exceed required efficiency percentage (1 point for each HERS score or percentage above requirement)
Project will not qualify for these points
5.6a
Project will use renewable energy technoly (PV, wind turbine or other) to provide at least 10 percent of estimated electricity demand (5 points per 10 percent of load)
Project will not qualify for these points
5.6b
Project will prepare the development to accommodate installation of PV panels at some time in the future (2 points)
Project will not qualify for these points
6.1
Project commits to a waste management plan that diverts at least 25 percent of debris from the landfill (5 points)
Project will not qualify for these points
6.2
Project commits to use recycled content calculated per the criteria (2 points for first 5 percent, 3 points for each additional 5 percent)
Project will not qualify for these points
6.3
Project commits to using at least 25 percent wood products certified FSC, salvaged, and/or engineered (5 points)
Project will not qualify for these points
6.4a
Project commits to using water-permeable materials in at least 50 percent of walkways (5 points)
Project will not qualify for these points
6.4b
Project commits to using water-permeable materials in at least 50 percent of paved parking areas (10 points)
Project will not qualify for these points
6.5a
Project will specify roofing material that meets Energy Star (reflectivity greater than .65 or high-emissive (emissivity of at least 0.8) (5 points)
Project will install a "green" roof for at least 50 percent of the roof area (5 points)
Project will install a combination of high-albedo and vegetated roof collectively covering 75 percent of the roof area (5 points)
Project will not qualify for these points
6.5b
Project will use light colored, high-albedo and/or open grid material with a Reflective index of .6 or better over at least 30 percent of paving (5 points)
Project will not qualify for these points
6.5c
Project will provide shading for at least 50 percent of sidewalks, patios and driveways within 50 feet of the home per the criteria. (5 points)
Project will not qualify for these points
7.1
All interior paints and primers will meet Green Seal limits for VOCs
7.2
All adhesives, caulks and sealants will comply with VOC standards and limits listed in the criteria
7.3
All particleboard and MDF will be certified compliant with ANSI A208.1 or A208.2
All particleboard and MDF will not be certified compliant with ANSI A208.1 or A208.2 but will have all exposed edges sealed with low-VOC sealant
7.4
All carpet, pad and adhesive will be certified CRI Green Label and will not be installed below grade or in other areas listed in the criteria
Carpet will not be used on this project
7.5a
All bathrooms will have Energy Star-labeled exhaust fans connected to the light switch and equipped with a humidistat sensor or timer
All bathrooms will have Energy Star-labeled 2-speed exhaust fans that operate continuously for whole house ventilation at low speed and are connected to the light switch for higher speed.
7.5b
All kitchens will be equipped with power vented fans or range hoods that exhaust to the exterior
Project is not new construction or substantial rehab
7.5c
Project is moderate rehab and all kitchens will be equipped with power vented fans or range hoods that exhaust to the exterior (5 points)
Project will not qualify for these points
7.6a
All dwelling units will include whole house ventilation systems providing fresh air per ASHRAE 62.1-2007 (above 3 stories) or 62.2-2007 (low-rise)
Project site is in a qualified "paradise' climate per ASHRAE 62.1 or 62.2
Project is not new construction or substantial rehab
7.6b
Project is moderate rehab and all dwelling units will include whole house ventilation systems providing fresh air per ASHRAE 62.1-2007 (above 3 stories) or 62.2-2007 (low-rise) (10 points)
Project is not moderate rehab
7.7
Heating and cooling equipment will be sized in accordance with the ACCA manual, Parts J and S, ASHRAE handbooks, or equivalent software to insure adequate dehumidification
7.8a
Project will use conventional hot water heaters in rooms with drains or with catch pans with drains, piped to the exterior, and with non-water sensitive floor coverings
Project will use tankless hot water heaters
7.8b
All combustion equipment will be power vented or combustion sealed and hard-wired CO detectors will be installed per criteria
Project will not use combustion equipment
7.9a
All wet areas will have smooth, durable and cleanable surfaces. Not vinyl wallpaper or unsealed grout will be used
7.9b
Tub and shower areas will have fiberglass or similar enclosures
Tub and shower areas will have grouted material and will have durable backing material per the criteria
7.10a
All new basement and concrete slabs will have a 6 mil poly vapor barrier over a capillary break of 4" of washed gravel per the criteria
There are no new concrete slabs in this project
7.10b
The project is new construction and is in an EPA zone 1 or 2 for radon and will install passive radon-resistant features below the slab along with a vertical vent pipe that can become active if necessary
The project is substantial rehab and is in an EPA zone 1 or 2 for radon and will test the buildings for radon and provide mitigation if required
The project is moderate rehab
7.11
Project will provide drainage and water management for windows, walls, roofing, and foundations including all measures listed in the criteria.
7.12
Project does include garages and will install a continuous air barrier, substantially air-tight doors with closers, and inside CO detectors from per the criteria. Garages will not contain air handling equipment
Project does not include attached garages
7.13
All clothes dryers will be exhausted to the outside
7.14
All wall, floor and joint penetrations will be sealed with a low VOC caulk along with rodent and corrosion proof screens for large openings
7.15
Lead-safe work practices will be used
Building is either new or built since 1978
7.16
No vinyl or carpet will be used on this project (5 points)
Project will not qualify for these points
7.17
Project will implement and enforce a "no-smoking" policy for all common and individual living areas per the criteria (2 points)
Project will not qualify for these points
8.1
The building maintenance manual will include instructions per the criteria to maintain the green features
8.2
All rental residents will receive an Occupant's Manual explaining the green features of their unit along with other "green" information per the criteria
All new homeowners will receive an Occupant's Manual explaining the green features of their unit, including maintenance, along with other "green features per the criteria
8.3
All homeowners and rental residents will receive a comprehensive walk-through and orientation using the Occupant's Manual from 8-2

## INTENDED METHODS
[12 empty] | 11a | 11b | 12a | 12b | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 210 | 211 | 212 | 213 | 31 | 32 | 33 | 34 | 35 | 36 | 41 | 42 | 43 | 51a | 51b | 51c | 51d | 52 | 53 | 54 | 55a | 55b | 55c | 56a | 56b | 57a | 57b | 58 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69a | 69b | 71 | 72 | 73 | 74a | 74b | 75a | 75b | 76a | 76b | 77 | 78 | 79a | 79b | 79c | 710 | 711 | 712 | 713 | 714 | 715 | 716 | 81 | 82 | 83 | 84
GREEN COMMUNITIES INTENDED METHODS WORKSHEET | [13 empty] | 0 | 0 |  |  |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 |  | 0 | 0 |  |  |  |  | 0 | [6 empty] | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | [11 empty] | 0 |  |  |  | 0
[14 empty] | 2 | 2 |  |  |  | 5 |  |  | 1 | 5 | 5 | 2 | 2 | 6 | 4 | [5 empty] | 2 |  | 2 | 1 |  |  |  |  | 1 | [6 empty] | 3 | 4 | 1 | 5 |  |  |  | 1 | 5 | 1 | 1 | 5 | 1 | 2 |  |  | 4 |  | 6 |  | 5 |  | 5 | [11 empty] | 9 |  |  |  | 12
Project Name |  | <blank> | Organization Name | <blank> | [10 empty] | 3 |  |  |  | 6 |  |  | 2 |  |  | 4 | [8 empty] | 6 |  | 4 | 2 |  |  |  |  | 2 | [7 empty] | 8 | 2 |  |  |  |  | 2 |  | 2 | 2 |  | 3
Project Address |  | <blank> | Organization Contact | <blank> | [17 empty] | 3 |  |  | 6 | [10 empty] | 6 | 3 |  |  |  |  | 3 | [7 empty] | 12 | [5 empty] | 3 |  | 3 | 3
Project Status |  | <blank> | Date | <blank> | [20 empty] | 7 | [11 empty] | 4 |  |  |  |  | 4 | [13 empty] | 4 |  | 4 | 4
[42 empty] | 5 | [13 empty] | 5 |  | 5 | 5
INTENDED METHODS WORKSHEET: This worksheet identifies how the project team intends to incorporate all the Mandatory and adequate number of Optional Criteria into the development. | [41 empty] | 6
7
This worksheet must be filled out and submitted before the construction start date. For additional information on how to submit, go to www.greencommunitiesonline.org/tools/certification/ | [41 empty] | 8
9
INSTRUCTIONS: | [41 empty] | 10
1) Select an answer provided in the drop-down menu under Column D ("How Criterion will be implemented") for each criterion. | [41 empty] | 11
2) Explain special circumstances or request a waiver using Column E ("If necessary, describe deviations from intended approach"). This may include information on an approach proposed by the project team that does not appear as an option in the drop-down menu. | [41 empty] | 12 | [45 empty] | Project Manager
3) Indicate where the Criterion references can be found within the project documents in Column F and G ("Criteria Documentation"). This is required for Critierion 1.1b | [41 empty] | 13 | [45 empty] | Architect
4) Indicate the project team member who is responsible for documenting and ensuring the completion of the Criterion under Column 'H' (Champion). | [41 empty] | 14 | [45 empty] | General Contractor
5) Indicate the number of optional points being pursued by completing Column H ("Intended Points"). | [41 empty] | 15 | [45 empty] | Green Building Specialist | Project Plans and Specifications
[88 empty] | Mechanical Engineer | Project Plans
**Gray text within the spreadsheet (under Green Development Agreement section at bottom) indicates the type of information that could occupy that cell. It is not intended to be left in your final submission documents. | [87 empty] | Electrical Engineer | Scope of Work
[12 empty] | The project team has conducted one or more integrative design meeting(s) and submitted a Green Development Plan or equivalent documentation | The project team will create design and construction documentation (i.e. plans, details, and specifications) to include information on implementation of appropriate Enterprise Green Communities Criteria | The project team designed a minimum of 15% of the dwelling units in accordance with ICC/ANSI A117.1, Type A, Fully Accessible guidelines, and the remaining ground floor units and elevator-reachable units with ICC/ANSI A117.1, Type B | The project team designed a minimum of 15% of the dwelling units in accordance with ICC/ANSI A117.1, Type A, Fully Accessible guidelines | New development will not be within 100 feet of wetlands, on prime soils, on public parkland, on critical habitat, on the 100 year floodplain, or be on a slope greater than 15% | The project is located on a site with access to existing roads, water, sewers, and other infrastructure within or contiguous (having at least 25% of the perimeter bordering) to existing development, connected to the pedestrian grid, and meeting the septic tank requirements | Provide the net density and net density calculation for the project. | Provide the net density and net density calculation for the project. | Urban/Small City location: Project is 0.25-mile walk distance of at least two, or a 0.5-mile walk distance of at least 4 facilities | The project has a set aside of a minimum 10% of the total project acreage as open space for residents | The project has a set aside of 20% of the total project acreage as additional open space | Provide brief narrative that summarizes the location, quantity and type of public transportation choices around project site | Provide summary of the project’s sidewalk and pathway connections to public spaces, open spaces or adjacent development | Provide brief narrative that describe passive solar heating/cooling tactics | The project is located on a local, state, federal, or ASTM E1903-97 qualified brownfield site, and will remediate site contamination. | The project will meet the requirements of Option 1: Neighborhood Farms and Gardens | The project is located in a Stage 2 Pre-Certified LEED for Neighborhood Development plan | Site has passed Phase I Environmental Site Assessment | Site will implement EPA's BMP for erosion control at least including measures listed in the criteria | The project will meet all Enterprise Green Communities requirements for greenfield development | The Architect or Landscape Architect will provide certified tree or plant list showing at least 50% of the site area available for landscaping is planted with native or adaptive species | Provide brief narrative describing type of irrigation systems to be implemented | Provide a brief narrative of the design strategies and systems that will be implemented, and indicate the calculated volume of water being retained, infiltrated, or harvested on site | Project will specify toilets at 1.28 gpf or less, urinals at .5 gpf or less, bathroom faucets at 1.5 gpm or less, and showerheads and kitchen faucets at 2.0 gpm or less | The project will install all toilets | The project will install a system to harvest, treat, and reuse rainwater or greywater to provide portion of the project’s water needs | The project will certify under ENERGY STAR New Homes version 2, 2.5, or 3 | The project was permitted prior to January 1, 2012 and will meet the guidelines of the ENERGY STAR Multifamily High-Rise program | The project will demonstrate energy performance of a HERS Index of 85 using an energy model and a Home Energy Rating certificate | The project will demonstrate energy performance equivalent or better than ASHRAE 90.1-2007 using an energy model created by a qualified energy services provider | The project will achieve additional optional points by reducing energy consumption in addition to the mandatory appropriate building performance standard | Heating and cooling equipment will be sized in accordance with the ACCA manual, Parts J and S, or ASHRAE handbooks | The project will install Energy Star-rated clothes washers, dishwashers, and refrigerators | Project will install Energy Star Advanced Lighting Package | Project will use ENERGY STAR-labeled fixtures, LEDs, T8 fixtures with electronic ballasts or better, or any equivalent high-performance lighting fixtures and bulbs in all common areas | Project will install ENERGY STAR qualified fixtures or LEDs (with a minimum efficacy of 45 lumens/watt) equipped with daylight sensors on all outdoor lighting | Individual or sub-meters will be installed in all dwelling units | Individual or sub-meters will be installed in all dwelling units | Provide brief narrative describing the types of renewable energy system installed and the estimated percentage of energy it will provide for the overall energy demand of the project | Project will site, design and engineer the development to accommodate installation of PV panels in the future | Project will site, design, engineer, and wire the project to accommodate the installation of smart meters and/or be able to interface with smart grid systems in the future | All interior paints and primers will meet the MPI and Green Seal standards for VOCs, based on the list provided in the Criteria | All adhesives will comply with Rule 1168 of the South Coast Air Quality Management District. All caulks and sealants will comply with Regulation 8, Rule 51 of the Bay Area Air Quality Management District (BAAQMD) | Provide a brief narrative that lists the materials in the Construction Waste Management Plan, the % recycled, salvaged, or diverted and the strategies to do so | Provide a brief narrative that lists the materials in the Construction Waste Management Plan, the % recycled, salvaged, or diverted and the strategies to do so | The project will provide a dedicated, permanent, and accessible area for the collection and storage of materials for recycling | Provide a brief narrative that summarizes the building materials made of recycled content material | The project will use products that are extracted, processed, and manufactured within 500 miles of the project for a minimum of 50%, based on cost, of the building materials’ value | The project will use wood products of at least 25% by cost that are certified in accordance with the Forest Stewardship Council | The project will use ENERGY STAR compliant roofing | The project will use materials with a solar reflectance of 0.3, over at least 50% of the site’s hardscape area | All composite wood products will be compliant with California 93120 | Any carpet, pad and adhesive will not be installed in entryways, laundry rooms, bathrooms, kitchens/kitchenettes, utility rooms, or any rooms of ground-connected floors. Any carpet products will meet Green Label or Green Label Plus certification. Any hard surface flooring products will be either ceramic tile, unfinished hardwood floors, or in compliance with the FloorScore program criteria | The project will use non-vinyl non-carpet floor coverings in all rooms of the building(s) | The project will install ENERGY STAR-labeled intermittent exhaust fans connected to a light switch and equipped with a humidistat, sensor, or timer | The project will install ENERGY STAR-labeled intermittent exhaust fans connected to a light switch and equipped with a humidistat, sensor, or timer | The project will install power-vented fans or range hoods that exhaust to the outdoors at an intermittent rate of 100 cfm, per ASHRAE 62.2-2010 | The project will install power-vented fans or range hoods that exhaust to the outdoors at an intermittent rate of 100 cfm, per ASHRAE 62.2-2010 | The project will install a ventilation system that will satisfy the fresh air requirements of ASHRAE 62.2-2010 | The project will install a ventilation system that will satisfy the fresh air requirements of ASHRAE 62.2-2010 | All clothes dryers will exhaust directly to the outdoors using rigid-type duct work | All combustion equipment will be power vented or direct vented and hard-wired CO detectors will be installed in outside each sleeping area per criteria | All water heaters will be installed with catch pans and drains piped to the exterior of the dwelling | All surfaces in bathrooms, kitchens, and laundry rooms will use materials that have durable and cleanable surfaces | All bathrooms will have non-paper-faced backing materials such as cement board, fiber cement board, or equivalent | The project will install a vapor barrier and capillary break under the slab | The project will install passive-radon features below the slab | The project will install an integrated water drainage system per the Criteria | The project has an attached garage and will install the required details per the Criteria | Provides brief narrative that describes specific tactics and strategies used to for the Integrated Pest Management Plan | The project was built after 1978 | The project will enforce a no-smoking policy | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item | The project will work with Enterprise to collect and monitor energy, water, and if possible healthy living environments data for a minimum of 5 years | Plumbing Engineer
Complete this document by signing the Green Development Agreement at the bottom of this worksheet. Without the mandatory signatures, this document remains incomplete and the project will not receive Step 1 Certification. | [13 empty] | Project is substantial or moderate rehab | Project team designed a minimum of 15% of the dwelling units in accordance with ICC/ANSI A117.1, Type A, Fully Accessible guidelines, and the remaining ground floor units and elevator-reachable units with ICC/ANSI A117.1, Type B | Site qualifies as an infill site and will not be within 100 feet of wetlands, on public parkland, on critical habitat, or the 100 year floodplain | The project is on rural tribal land, in a colonias community, or in a community of population less than 10,000 |  |  | Suburban/Mid-Size Town location: Project is 0.5-mile walk distance of at least three, or a 1-mile walk distance of at least six facilities | The project is located within a 0.25-mile walk distance of dedicated public space of at least 0.75 acres | The project has a set aside of 30% of the total project acreage as additional open space |  |  |  | The project is located on an adaptive reuse site | The project will meet the requirements of Option 2: Community-Supported Agriculture | The project is located in a Stage 3 LEED for Neighborhood Development Certified Neighborhood Development | Site has passed a Tier II Environmental Review Assessment | The project will not disturb soils | Project is not located on a Greenfield | The project will not provide landscaping |  |  | The project will install all kitchen and bathroom faucets | The project will install all showerheads |  | The project will certify under the Northwest ENERGY STAR New Homes Program | The project certify under the ENERGY STAR Multifamily High-Rise program | The project is not a single-family or multifamily (three stories or fewer) rehabilitation | The project is not a multifamily (four stories or more) rehabilitation |  |  | The project is not installing appliances | Project will follow the follow the ENERGY STAR Multifamily High-Rise guidelines | Project is following the ENERGY STAR Multifamily High-Rise prescriptive path and will install fixtures that meet the guidelines | Project will follow the follow the ENERGY STAR Multifamily High-Rise guidelines | The project qualifies as a single-room occupancy and/or designated supportive housing dwelling units | The project is new construction or substantial rehab |  | Project will site, design, engineer and plumb the development to accommodate installation of solar hot water panels in the future | [8 empty] | The project will use wood products of at least 25% by cost that are salvaged wood products | The project will install a green roof on at least 50% of the roof area |  | Particleboard and MDF will not be compliant with California 93120, but all exposed edges will be sealed with low-VOC sealant | Carpet will not be used on this project |  | The project will install ENERGY STAR-labeled continuous bathroom fans that exhaust to outdoors operate continuously at 20 cfm | The project will install ENERGY STAR-labeled continuous bathroom fans that exhaust to outdoors operate continuously at 20 cfm | The project will install power-vented fans or range hoods that exhaust to the outdoors ate a continuous rate of five air changes per hour based on kitchen volume | The project will install power-vented fans or range hoods that exhaust to the outdoors ate a continuous rate of five air changes per hour based on kitchen volume | The project will install a ventilation system that will satisfy the fresh air requirements of ASHRAE 62.2-2010 for all dwelling units and ASHRAE 62.1-2010 for all hallways and common spaces | The project will install a ventilation system that will satisfy the fresh air requirements of ASHRAE 62.2-2010 for all dwelling units and ASHRAE 62.1-2010 for all hallways and common spaces |  | Project will not use combustion equipment |  |  |  | The project will install a 8-mil minimum thickness cross-laminated polyethylene on the crawlspace floor that overlaps and comes up 12 inches on the foundation walls and piers | The project is substantial or moderate rehab and will test for radon and install passive-radon features if necessary | The project is moderate or substantial rehab that is not replacing assemblies called in this criterion | The project does not have an attached garage |  | The project was built before 1978 and will use lead-safe work practices per the EPA’s RRP 40 CFR 745 and applicable HUD requirements at 24 CFR 35 | [5 empty] | Energy/Systems Specialist
[15 empty] | Project is new construction | Site is previously developed and will not be on prime soils, on public parkland, on critical habitat, on the 100 year floodplain, or on a slope greater than 15% | The project is substantial or moderate rehab |  |  | Rural/Tribal/Small Town location: Project is 2-miles of at least two facilities | The project is classified as an Urban/Small City or a Suburban/Mid-Size Town | The project has a set aside of 40% of the total project acreage as additional open space and submits a written statement of preservation or conservation policy for set-aside land use |  |  |  |  | The project will meet the requirements of Option 3: Proximity to Farmers Market |  | Site has passed an environmental site assessment approved by HUD through the Part 50 or Par 58 process | The project is an infill site with a buildable area smaller than one acre | The project is substantial or moderate rehab |  |  |  |  | The project will install all kitchen and bathroom faucets |  | The project is not single-family or multi-family (three stories or fewer) new construction | The project is not multi-family (four stories or more) new construction | [5 empty] | Project is substantial or moderate rehab and if replacing lighting, will use ENERGY STAR fixtures on all lights and ceiling fans | Project is substantial or moderate rehab and if replacing lighting, will use ENERGY STAR-labeled fixtures, LEDs, T8 fixtures with electronic ballasts or better, or any equivalent high-performance lighting fixtures and bulbs in all common areas | Project is substantial or moderate rehab and if being replaced, will install ENERGY STAR qualified fixtures or LEDs (with a minimum efficacy of 45 lumens/watt) equipped with daylight sensors on all outdoor lighting | The project is moderate rehab |  |  | Project will site, design and engineer the development to accommodate installation of PV and solar hot water panels in the future | [8 empty] | The project will use wood products of at least 25% by cost that are engineered framing materials that do not include urea formaldehyde-based binders | [5 empty] | The project will install a central ventilation system to meet ASHRAE requirements with rooftop fans that meet the 7.4a efficiency requirements | The project will install a central ventilation system to meet ASHRAE requirements with rooftop fans that meet the 7.4b efficiency requirements | The project will install central ventilation systems to meet ASHRAE requirements with rooftop fans that meet the 7.5a efficiency requirements | The project will install central ventilation systems to meet ASHRAE requirements with rooftop fans that meet the 7.5b efficiency requirements | The project is moderate rehab | The project is new construction or substantial rehab |  | Project will not use combustion equipment in the conditioned space and does not have any attached garages |  |  |  | The project is moderate or substantial rehab with no foundation work | The project is in EPA Zone 3 |  |  |  | The project is new construction
[16 empty] | The project is substantial or moderate rehab |  |  |  | The project is on a rural tribal land, colonias community, and/or in a community of population less than 10,000 | The project is substantial or moderate rehab | [7 empty] | Site has passed an environmental site assessment approved by the USDA through the 1940-G or 1974 process | [6 empty] | The project will install all toilets and showerheads | [9 empty] | Project does not have common areas or emergency lighting | [19 empty] | The project is moderate rehab | The project is new construction or substantial rehab | The project is moderate rehab | The project is new construction or substantial rehab | [8 empty] | The project is moderate rehab
1: INTEGRATIVE DESIGN | [19 empty] | The project is substantial or moderate rehab | [15 empty] | The project will install all toilets and kitchen / bathroom faucets | [9 empty] | The project does not contain any multifamily housing and is exempt
The project will install all showerheads and kitchen / bathroom faucets
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Notes | Incomplete | Verified | N/A | [24 empty] | The project will install all showerheads, toilets and kitchen / bathroom faucets
|  |  |  | Location of Measure in Project Documents | Spec Page number / Plan Type for Locating Measure
1.1a | Green Development Plan: Integrative Design Meeting(s) | [5 empty] | M
1.1b | Green Development Plan: Criteria Documentation | [5 empty] | M
1.2a | Universal Design (New Construction only) | [5 empty] | 0
1.2b | Universal Design (Substantial & Moderate Rehab only) | [5 empty] | 0
0
Intended Points
2: LOCATION + NEIGHBORHOOD FABRIC
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Notes | Incomplete | Verified | N/A
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
2.1 | Site Sensitive Selection (New Construction Only) | [5 empty] | M
2.2 | Connections to Existing Development and Infrastructure (New Construction only, except for projects located on rural tribal lands, in colonias communities, or in communities of population less than 10,000) | [5 empty] | M
2.3 | Compact Development (New Construction Only) | Provide the net density and net density calculation for the project. |  |  |  |  | M
2.4 | Compact Development | Provide the net density and net density calculation for the project. |  |  |  |  | 0
2.5 | Proximity to Services (New Construction only) | [5 empty] | M
2.6 | Preservation of and Access to Open Space | [5 empty] | M
2.7 | Preservation of and Access to Open Space | [5 empty] | 0
2.8 | Access to Public Transportation | Provide a brief narrative that summarizes the location, quantity and type of public transportation choices around project site |  |  |  |  | 0
2.9 | Walkable Neighborhoods: Connections to Surrounding Neighborhood | Provide summary of the project’s sidewalk and pathway connections to public spaces, open spaces or adjacent development |  |  |  |  | 0
2.10 | Smart Site Location: Passive Solar Heating / Cooling | Provide a brief narrative that describe passive solar heating/cooling tactics |  |  |  |  | 0
2.11 | Brownfield or Adaptive Reuse Site | [5 empty] | 0
2.12 | Access to Fresh, Local Foods | [5 empty] | 0
2.13 | LEED for Neighborhood Development certification | [5 empty] | 0
0
Intended Points
3: SITE IMPROVEMENTS
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Notes | Incomplete | Verified | N/A
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
3.1 | Environmental Remediation | [5 empty] | M
3.2 | Erosion and Sedimentation Control (Except for infill sites with buildable area smaller than one acre) | [5 empty] | M
3.3 | Low Impact Development (New Construction only) | [5 empty] | M
3.4 | Landscaping | [5 empty] | M
3.5 | Efficient Irrigation and Water Reuse | Provide a brief narrative describing type of irrigation systems to be implemented |  |  |  |  | M
3.6 | Surface Stormwater Management | Provide a brief narrative of the design strategies and systems that will be implemented, and indicate the calculated volume of water being retained, infiltrated, or harvested on site |  |  |  |  | 0
0
Intended Points
4: WATER CONSERVATION
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Notes | Incomplete | Verified | N/A
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
4.1 | Water-Conserving Fixtures | [5 empty] | M
4.2 | Advanced Water-Conserving Appliances and Fixtures | [5 empty] | 0
4.3 | Water Reuse | [5 empty] | 0
0
Intended Points
5: ENERGY EFFICIENCY
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Notes | Incomplete | Verified | N/A
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
5.1a | Building Performance Standard: Single family & Multifamily, 3 stories or fewer (New Construction only) | [5 empty] | M
5.1b | Building Performance Standard: Multifamily, 4 stories or more (New Construction Only) | [5 empty] | M
5.1c | Building Performance Standard: Single family & Multifamily, 3 stories or fewer (Substantial and Moderate Rehab) | [5 empty] | M
5.1d | Building Performance Standard: Multifamily, 4 stories or more (Substantial and Moderate Rehab) | [5 empty] | M
5.2 | Additional Reductions in Energy Use | [5 empty] | 0
5.3 | Sizing of Heating and Cooling Equipment and Ducts | [5 empty] | M
5.4 | ENERGY STAR Appliances | [5 empty] | M
5.5a | Efficient Lighting: Interior Units | [5 empty] | M
5.5b | Efficient Lighting: Common Areas and Emergency Lighting (all multifamily projects) | [5 empty] | M
5.5c | Efficient Lighting: Exterior | [5 empty] | M
5.6a | Electricity Meter (New Construction and Substantial Rehab only) | [5 empty] | M
5.6b | Electricity Meter (Moderate Rehab only) | [5 empty] | 0
5.7a | Renewable Energy | Provide brief narrative describing the types of renewable energy system installed and the estimated percentage of energy it will provide for the overall energy demand of the project |  |  |  |  | 0
5.7b | Photovoltaic / Solar Hot Water Ready | [5 empty] | 0
5.8 | Advanced Metering Infrastructure | [5 empty] | 0
0
Intended Points
6: MATERIALS BENEFICIAL TO THE ENVIRONMENT
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Notes | Incomplete | Verified | N/A
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
6.1 | Low / No VOC Paints and Primers | [5 empty] | M
6.2 | Low / No VOC Adhesives and Sealants | [5 empty] | M
6.3 | Construction Waste Management | Provide a brief narrative that lists the materials in the Construction Waste Management Plan, the % recycled, salvaged, or diverted and the strategies to do so |  |  |  |  | M
6.4 | Construction Waste Management: Optional | Provide a brief narrative that lists the materials in the Construction Waste Management Plan, the % recycled, salvaged, or diverted and the strategies to do so |  |  |  |  | 0
6.5 | Recycling Storage for Multifamily Project | [5 empty] | 0
6.6 | Recycled Content Material | Provide a brief narrative that summarizes the building materials made of recycled content material |  |  |  |  | 0
6.7 | Regional Material Selection | [5 empty] | 0
6.8 | Certified, Salvaged and Engineered Wood Products | [5 empty] | 0
6.9a | Reducing Heat-Island Effect: Roofing | [5 empty] | 0
6.9b | Reducing Heat-Island Effect: Paving | [5 empty] | 0
0
Intended Points
7: HEALTHY LIVING ENVIRONMENT
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Notes | Incomplete | Verified | N/A
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
7.1 | Composite Wood Products that Emit Low / No Formaldehyde | [5 empty] | M
7.2 | Environmentally Preferable Flooring | [5 empty] | M
7.3 | Environmentally Preferable Flooring: Alternative Sources | [5 empty] | 0
7.4a | Exhaust Fans: Bathroom (New Construction and Substantial Rehab only) | [5 empty] | M
7.4b | Exhaust Fans: Bathroom (Moderate Rehab only) | [5 empty] | 0
7.5a | Exhaust Fans: Kitchen (New Construction and Substantial Rehab only) | [5 empty] | M
7.5b | Exhaust Fans: Kitchen (Moderate Rehab only) | [5 empty] | 0
7.6a | Ventilation (New Construction and Substantial Rehab only) | [5 empty] | M
7.6b | Ventilation (Moderate Rehab only) | [5 empty] | 0
7.7 | Clothes Dryer Exhaust | [5 empty] | M
7.8 | Combustion Equipment | [5 empty] | M
7.9a | Mold Prevention: Water Heaters | [5 empty] | M
7.9b | Mold Prevention: Surfaces | [5 empty] | M
7.9c | Mold Prevention: Tub and Shower Enclosures | [5 empty] | M
7.10 | Vapor Barrier Strategies (New Construction and Rehab projects with foundation work only) | [5 empty] | M
7.11 | Radon Mitigation (New Construction and Substantial Rehab only) | [5 empty] | M
7.12 | Water Drainage (New Construction and Rehab projects replacing assemblies called out in Criterion only) | [5 empty] | M
7.13 | Garage Isolation | [5 empty] | M
7.14 | Integrated Pest Management | Provide a brief narrative that describes specific tactics and strategies used to for the Integrated Pest Management Plan |  |  |  |  | M
7.15 | Lead-Safe Work Practices (Substantial and Moderate Rehab only) | [5 empty] | M
7.16 | Smoke-Free Building | [5 empty] | 0
0
Intended Points
8: OPERATIONS + MAINTENANCE
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Notes | Incomplete | Verified | N/A
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
8.1 | Building Maintenance Manual (all multifamily projects) | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item |  |  |  |  | M
8.2 | Resident's Manual | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item |  |  |  |  | M
8.3 | Resident and Property Manager Orientation | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item |  |  |  |  | M
8.4 | Project Data Collection and Monitoring System | [5 empty] | 0
0
Intended Points
ENTERPRISE GREEN COMMUNITIES CRITERIA | [6 empty] | 0
TOTAL INTENDED POINTS
Green Development Agreement: |  | The following signatures provide a written commitment demonstrating that all parties involved in the execution and delivery of this project agree to be accountable to measures and strategies as outlined in application documents.
INSTRUCTIONS:
This signature portion is most easily satisfied by either: a) printing the Intended Methods tab and having the various team members fill out and sign their portion or b) using digitial signatures. Both forms of submission will be accepted.
To proceed with Enterprise Green Communities Ceritification, signatures must be provided by the project manager, architect and general contractor. If these 3 signatures are not present, your building will not proceed through Step 1 of Certification.
MANDATORY SIGNATURES
<Provide Signature of Green Development Team Member> |  |  | <Insert Date>
Project Manager: |  | <PRINT Green Development Team Member's Name>
<Provide Signature of Green Development Team Member> |  |  | <Insert Date>
Architect: |  | <PRINT Green Development Team Member's Name>
<Provide Signature(s) of Green Development Team Member(s)> |  |  | <Insert Date>
General Contractor: |  | <PRINT Green Development Team Member's Name(s)>
OPTIONAL SIGNATURES
<Provide Signature of Green Development Team Member> |  |  | <Insert Date>
Green Building Specialist: |  | <PRINT Green Development Team Member's Name>
<Provide Signature(s) of Green Development Team Member(s)> |  |  | <Insert Date>
Engineer (MEP): |  | <PRINT Green Development Team Member's Name(s)>
<Provide Signature(s) of Green Development Team Member(s)> |  |  | <Insert Date>
Energy and/or System Specialist: |  | <PRINT Green Development Team Member's Name(s)>

## COST DEVELOPMENT
GREEN COMMUNITIES COST DEVELOPMENT WORKSHEET
Project Name |  | <blank> | Organization Name | <blank>
Project Address |  | <blank> | Organization Contact | <blank>
Project Status |  | <blank> | Date | <blank>
COST DEVELOPMENT WORKSHEET: This worksheet is a tool for project teams to track cost data at the criterion level. Within the tool below, please specify the costs incurred in satisfying the Green Communities Criteria to the best of your ability. This information will assist Enterprise Green Communities evaluate the costs and benefits of affordable housing developments designed to the Green Communities Criteria.
This worksheet must be filled out and submitted within 60 days after completing construction. For additional information on how to submit, go to www.greencommunitiesonline.org/tools/certification/
INSTRUCTIONS:
COST DATA COLLECTION: | [6 empty] | Design
1) For each cost provided, please identify in Column E (Cost Category) the category these costs pertain to: Design, Construction or Verification/Certification Costs. If total cost includes more than one category, please provide detail in notes section. | [6 empty] | Construction
2) The applicant should complete Column E (Estimated Cost) during the development phase. | [6 empty] | Verification/Certification
3) The applicant should complete Column F (Actual Cost) after construction has been completed, as a way to compare the estimated versus actual costs.
4) Column G (Calculated Incremental Cost) contains a formula and will automatically calculate the difference between estimated and actual costs.
1: INTEGRATIVE DESIGN
| Criteria Item | Cost Category | Estimated Cost | Actual Cost | Calculated Incremental Cost | Intended Points
1.1a | Green Development Plan: Integrative Design Meeting(s) |  | 0 | 0 | 0 | M
1.1b | Green Development Plan: Criteria Documentation |  | 0 | 0 | 0 | M
1.2a | Universal Design (New Construction only) |  | 0 | 0 | 0 | 0
1.2b | Universal Design (Substantial & Moderate Rehab only) |  | 0 | 0 | 0 | 0
0
Intended Points
2: LOCATION + NEIGHBORHOOD FABRIC
| Criteria Item | Cost Category | Estimated Cost | Actual Cost | Calculated Incremental Cost | Intended Points
2.1 | Site Sensitive Selection (New Construction Only) |  | 0 | 0 | 0 | M
2.2 | Connections to Existing Development and Infrastructure (New Construction only, except for projects located on rural tribal lands, in colonias communities, or in communities of population less than 10,000) |  | 0 | 0 | 0 | M
2.3 | Compact Development (New Construction Only) |  | 0 | 0 | 0 | M
2.4 | Compact Development |  | 0 | 0 | 0 | 0
2.5 | Proximity to Services (New Construction only) |  | 0 | 0 | 0 | M
2.6 | Preservation of and Access to Open Space |  | 0 | 0 | 0 | M
2.7 | Preservation of and Access to Open Space |  | 0 | 0 | 0 | 0
2.8 | Access to Public Transportation |  | 0 | 0 | 0 | 0
2.9 | Walkable Neighborhoods: Connections to Surrounding Neighborhood |  | 0 | 0 | 0 | 0
2.10 | Smart Site Location: Passive Solar Heating / Cooling |  | 0 | 0 | 0 | 0
2.11 | Brownfield or Adaptive Reuse Site |  | 0 | 0 | 0 | 0
2.12 | Access to Fresh, Local Foods |  | 0 | 0 | 0 | 0
2.13 | LEED for Neighborhood Development certification |  | 0 | 0 | 0 | 0
0
Intended Points
3: SITE IMPROVEMENTS
| Criteria Item | Cost Category | Estimated Cost | Actual Cost | Calculated Incremental Cost | Intended Points
3.1 | Environmental Remediation |  | 0 | 0 | 0 | M
3.2 | Erosion and Sedimentation Control (Except for infill sites with buildable area smaller than one acre) |  | 0 | 0 | 0 | M
3.3 | Low Impact Development (New Construction only) |  | 0 | 0 | 0 | M
3.4 | Landscaping |  | 0 | 0 | 0 | M
3.5 | Efficient Irrigation and Water Reuse |  | 0 | 0 | 0 | M
3.6 | Surface Stormwater Management |  | 0 | 0 | 0 | 0
0
Intended Points
4: WATER CONSERVATION
| Criteria Item | Cost Category | Estimated Cost | Actual Cost | Calculated Incremental Cost | Intended Points
4.1 | Water-Conserving Fixtures |  | 0 | 0 | 0 | M
4.2 | Advanced Water-Conserving Appliances and Fixtures |  | 0 | 0 | 0 | 0
4.3 | Water Reuse |  | 0 | 0 | 0 | 0
0
Intended Points
5: ENERGY EFFICIENCY
| Criteria Item | Cost Category | Estimated Cost | Actual Cost | Calculated Incremental Cost | Intended Points
5.1a | Building Performance Standard: Single family & Multifamily, 3 stories or fewer (New Construction only) |  | 0 | 0 | 0 | M
5.1b | Building Performance Standard: Multifamily, 4 stories or more (New Construction Only) |  | 0 | 0 | 0 | M
5.1c | Building Performance Standard: Single family & Multifamily, 3 stories or fewer (Substantial and Moderate Rehab) |  | 0 | 0 | 0 | M
5.1d | Building Performance Standard: Multifamily, 4 stories or more (Substantial and Moderate Rehab) |  | 0 | 0 | 0 | M
5.2 | Additional Reductions in Energy Use |  | 0 | 0 | 0 | 0
5.3 | Sizing of Heating and Cooling Equipment and Ducts |  | 0 | 0 | 0 | M
5.4 | ENERGY STAR Appliances |  | 0 | 0 | 0 | M
5.5a | Efficient Lighting: Interior Units |  | 0 | 0 | 0 | M
5.5b | Efficient Lighting: Common Areas and Emergency Lighting (all multifamily projects) |  | 0 | 0 | 0 | M
5.5c | Efficient Lighting: Exterior |  | 0 | 0 | 0 | M
5.6a | Electricity Meter (New Construction and Substantial Rehab only) |  | 0 | 0 | 0 | M
5.6b | Electricity Meter (Moderate Rehab only) |  | 0 | 0 | 0 | 0
5.7a | Renewable Energy |  | 0 | 0 | 0 | 0
5.7b | Photovoltaic / Solar Hot Water Ready |  | 0 | 0 | 0 | 0
5.8 | Advanced Metering Infrastructure |  | 0 | 0 | 0 | 0
0
Intended Points
6: MATERIALS BENEFICIAL TO THE ENVIRONMENT
| Criteria Item | Cost Category | Estimated Cost | Actual Cost | Calculated Incremental Cost | Intended Points
6.1 | Low / No VOC Paints and Primers |  | 0 | 0 | 0 | M
6.2 | Low / No VOC Adhesives and Sealants |  | 0 | 0 | 0 | M
6.3 | Construction Waste Management |  | 0 | 0 | 0 | M
6.4 | Construction Waste Management: Optional |  | 0 | 0 | 0 | 0
6.5 | Recycling Storage for Multifamily Project |  | 0 | 0 | 0 | 0
6.6 | Recycled Content Material |  | 0 | 0 | 0 | 0
6.7 | Regional Material Selection |  | 0 | 0 | 0 | 0
6.8 | Certified, Salvaged and Engineered Wood Products |  | 0 | 0 | 0 | 0
6.9a | Reducing Heat-Island Effect: Roofing |  | 0 | 0 | 0 | 0
6.9b | Reducing Heat-Island Effect: Paving |  | 0 | 0 | 0 | 0
0
Intended Points
7: HEALTHY LIVING ENVIRONMENT
| Criteria Item | Cost Category | Estimated Cost | Actual Cost | Calculated Incremental Cost | Intended Points
7.1 | Composite Wood Products that Emit Low / No Formaldehyde |  | 0 | 0 | 0 | M
7.2 | Environmentally Preferable Flooring |  | 0 | 0 | 0 | M
7.3 | Environmentally Preferable Flooring: Alternative Sources |  | 0 | 0 | 0 | 0
7.4a | Exhaust Fans: Bathroom (New Construction and Substantial Rehab only) |  | 0 | 0 | 0 | M
7.4b | Exhaust Fans: Bathroom (Moderate Rehab only) |  | 0 | 0 | 0 | 0
7.5a | Exhaust Fans: Kitchen (New Construction and Substantial Rehab only) |  | 0 | 0 | 0 | M
7.5b | Exhaust Fans: Kitchen (Moderate Rehab only) |  | 0 | 0 | 0 | 0
7.6a | Ventilation (New Construction and Substantial Rehab only) |  | 0 | 0 | 0 | M
7.6b | Ventilation (Moderate Rehab only) |  | 0 | 0 | 0 | 0
7.7 | Clothes Dryer Exhaust |  | 0 | 0 | 0 | M
7.8 | Combustion Equipment |  | 0 | 0 | 0 | M
7.9a | Mold Prevention: Water Heaters |  | 0 | 0 | 0 | M
7.9b | Mold Prevention: Surfaces |  | 0 | 0 | 0 | M
7.9c | Mold Prevention: Tub and Shower Enclosures |  | 0 | 0 | 0 | M
7.10 | Vapor Barrier Strategies (New Construction and Rehab projects with foundation work only) |  | 0 | 0 | 0 | M
7.11 | Radon Mitigation (New Construction and Substantial Rehab only) |  | 0 | 0 | 0 | M
7.12 | Water Drainage (New Construction and Rehab projects replacing assemblies called out in Criterion only) |  | 0 | 0 | 0 | M
7.13 | Garage Isolation |  | 0 | 0 | 0 | M
7.14 | Integrated Pest Management |  | 0 | 0 | 0 | M
7.15 | Lead-Safe Work Practices (Substantial and Moderate Rehab only) |  | 0 | 0 | 0 | M
7.16 | Smoke-Free Building |  | 0 | 0 | 0 | 0
0
Intended Points
8: OPERATIONS + MAINTENANCE
| Criteria Item | Cost Category | Estimated Cost | Actual Cost | Calculated Incremental Cost | Intended Points
8.1 | Building Maintenance Manual (all multifamily projects) |  | 0 | 0 | 0 | M
8.2 | Resident's Manual |  | 0 | 0 | 0 | M
8.3 | Resident and Property Manager Orientation |  | 0 | 0 | 0 | M
8.4 | Project Data Collection and Monitoring System |  | 0 | 0 | 0 | 0
0
Intended Points
ENTERPRISE GREEN COMMUNITIES CRITERIA | [5 empty] | 0
TOTAL INTENDED POINTS
| Total Points and Project Costs |  | Estimated Cost | Actual Cost | Calculated Incremental Cost
|  |  | 0 | 0 | 0

## COMPLIANCE REPORT
[9 empty] | 11a | 11b | 12a | 12b | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 210 | 211 | 212 | 213 | 31 | 32 | 33 | 34 | 35 | 36 | 41 | 42 | 43 | 51a | 51b | 51c | 51d | 52 | 53 | 54 | 55a | 55b | 55c | 56a | 56b | 57a | 57b | 58 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69a | 69b | 71 | 72 | 73 | 74a | 74b | 75a | 75b | 76a | 76b | 77 | 78 | 79a | 79b | 79c | 710 | 711 | 712 | 713 | 714 | 715 | 716 | 81 | 82 | 83 | 84
GREEN COMMUNITIES COMPLIANCE REPORT WORKSHEET | [10 empty] | 0 | 0 |  |  |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 |  | 0 | 0 |  |  |  |  | 0 | [6 empty] | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | [11 empty] | 0 |  |  |  | 0
[11 empty] | 2 | 2 |  |  |  | 5 |  |  | 1 | 5 | 5 | 2 | 2 | 6 | 4 | [5 empty] | 2 |  | 2 | 1 |  |  |  |  | 1 | [6 empty] | 3 | 4 | 1 | 5 |  |  |  | 1 | 5 | 1 | 1 | 5 | 1 | 2 |  |  | 4 |  | 6 |  | 5 |  | 5 | [11 empty] | 9 |  |  |  | 12
Project Name |  | <blank> | Organization Name | <blank> | [7 empty] | 3 |  |  |  | 6 |  |  | 2 |  |  | 4 | [8 empty] | 6 |  | 4 | 2 |  |  |  |  | 2 | [7 empty] | 8 | 2 |  |  |  |  | 2 |  | 2 | 2 |  | 3
Project Address |  | <blank> | Organization Contact | <blank> | [14 empty] | 3 |  |  | 6 | [10 empty] | 6 | 3 |  |  |  |  | 3 | [7 empty] | 12 | [5 empty] | 3 |  | 3 | 3
Project Status |  | <blank> | Date | <blank> | [17 empty] | 7 | [11 empty] | 4 |  |  |  |  | 4 | [13 empty] | 4 |  | 4 | 4
[39 empty] | 5 | [13 empty] | 5 |  | 5 | 5
COMPLIANCE REPORT WORKSHEET: This worksheet identifies how the project team intends to incorporate all the Mandatory and adequate number of Optional Criteria into the development. | [38 empty] | 6
7
This worksheet must be filled out and submitted after the construction start date. For additional information on how to submit, go to www.greencommunitiesonline.org/tools/certification/ | [38 empty] | 8
9
INSTRUCTIONS: | [38 empty] | 10
1) Column D (How Criterion will be implemented) for each criterion will be populated based on the 'Intended Methods' worksheet. | [38 empty] | 11
2) In Column E, explain if the project deviated from the optional points layed out in the 'Intended Methods' worksheet, encountered any special circumstances or requested a waiver of the criterion | [38 empty] | 12
3) Column F, G, H, and I will be populated from the 'Intended Methods' worksheet | [38 empty] | 13
4) Indicate the final number of optional points being pursued by completing Column J (Achieved Points) | [38 empty] | 14
5) Complete form by signing the Green Development Agreement at the bottom of this worksheet, which identifies the responsibilities of each project member by Green Communities Criteria category. | [38 empty] | 15
[9 empty] | 11a | 11b | 12a | 12b | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 210 | 211 | 212 | 213 | 31 | 32 | 33 | 34 | 35 | 36 | 41 | 42 | 43 | 51a | 51b | 51c | 51d | 52 | 53 | 54 | 55a | 55b | 55c | 56a | 56b | 57a | 57b | 58 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69a | 69b | 71 | 72 | 73 | 74a | 74b | 75a | 75b | 76a | 76b | 77 | 78 | 79a | 79b | 79c | 710 | 711 | 712 | 713 | 714 | 715 | 716 | 81 | 82 | 83 | 84
**Gray text within the spreadsheet (under Green Development Agreement section at bottom) indicates the type of information that could occupy that cell. It is not intended to be left in your final submission documents.
[9 empty] | The project team has conducted one or more integrative design meeting(s) and submitted a Green Development Plan or equivalent documentation | The project team will create design and construction documentation (i.e. plans, details, and specifications) to include information on implementation of appropriate Enterprise Green Communities Criteria | The project team designed a minimum of 15% of the dwelling units in accordance with ICC/ANSI A117.1, Type A, Fully Accessible guidelines, and the remaining ground floor units and elevator-reachable units with ICC/ANSI A117.1, Type B | The project team designed a minimum of 15% of the dwelling units in accordance with ICC/ANSI A117.1, Type A, Fully Accessible guidelines | New development will not be within 100 feet of wetlands, on prime soils, on public parkland, on critical habitat, on the 100 year floodplain, or be on a slope greater than 15% | The project is located on a site with access to existing roads, water, sewers, and other infrastructure within or contiguous (having at least 25% of the perimeter bordering) to existing development, connected to the pedestrian grid, and meeting the septic tank requirements | Provide the net density and net density calculation for the project. | Provide the net density and net density calculation for the project. | Urban/Small City location: Project is 0.25-mile walk distance of at least two, or a 0.5-mile walk distance of at least 4 facilities | The project has a set aside of a minimum 10% of the total project acreage as open space for residents | The project has a set aside of 20% of the total project acreage as additional open space | Provide brief narrative that summarizes the location, quantity and type of public transportation choices around project site | Provide summary of the project’s sidewalk and pathway connections to public spaces, open spaces or adjacent development | Provide brief narrative that describe passive solar heating/cooling tactics | The project is located on a local, state, federal, or ASTM E1903-97 qualified brownfield site, and will remediate site contamination. | The project will meet the requirements of Option 1: Neighborhood Farms and Gardens | The project is located in a Stage 2 Pre-Certified LEED for Neighborhood Development plan | Site has passed Phase I Environmental Site Assessment | Site will implement EPA's BMP for erosion control at least including measures listed in the criteria | The project will meet all Enterprise Green Communities requirements for greenfield development | The Architect or Landscape Architect will provide certified tree or plant list showing at least 50% of the site area available for landscaping is planted with native or adaptive species | Provide brief narrative describing type of irrigation systems to be implemented | Provide a brief narrative of the design strategies and systems that will be implemented, and indicate the calculated volume of water being retained, infiltrated, or harvested on site | Project will specify toilets at 1.28 gpf or less, urinals at .5 gpf or less, bathroom faucets at 1.5 gpm or less, and showerheads and kitchen faucets at 2.0 gpm or less | The project will install all toilets | The project will install a system to harvest, treat, and reuse rainwater or greywater to provide portion of the project’s water needs | The project will certify under ENERGY STAR New Homes version 2, 2.5, or 3 | The project was permitted prior to January 1, 2012 and will meet the guidelines of the ENERGY STAR Multifamily High-Rise program | The project will demonstrate energy performance of a HERS Index of 85 using an energy model and a Home Energy Rating certificate | The project will demonstrate energy performance equivalent or better than ASHRAE 90.1-2007 using an energy model created by a qualified energy services provider | The project will achieve additional optional points by reducing energy consumption in addition to the mandatory appropriate building performance standard | Heating and cooling equipment will be sized in accordance with the ACCA manual, Parts J and S, or ASHRAE handbooks | The project will install Energy Star-rated clothes washers, dishwashers, and refrigerators | Project will install Energy Star Advanced Lighting Package | Project will use ENERGY STAR-labeled fixtures, LEDs, T8 fixtures with electronic ballasts or better, or any equivalent high-performance lighting fixtures and bulbs in all common areas | Project will install ENERGY STAR qualified fixtures or LEDs (with a minimum efficacy of 45 lumens/watt) equipped with daylight sensors on all outdoor lighting | Individual or sub-meters will be installed in all dwelling units | Individual or sub-meters will be installed in all dwelling units | Provide brief narrative describing the types of renewable energy system installed and the estimated percentage of energy it will provide for the overall energy demand of the project | Project will site, design and engineer the development to accommodate installation of PV panels in the future | Project will site, design, engineer, and wire the project to accommodate the installation of smart meters and/or be able to interface with smart grid systems in the future | All interior paints and primers will meet the MPI and Green Seal standards for VOCs, based on the list provided in the Criteria | All adhesives will comply with Rule 1168 of the South Coast Air Quality Management District. All caulks and sealants will comply with Regulation 8, Rule 51 of the Bay Area Air Quality Management District (BAAQMD) | Provide a brief narrative that lists the materials in the Construction Waste Management Plan, the % recycled, salvaged, or diverted and the strategies to do so | Provide a brief narrative that lists the materials in the Construction Waste Management Plan, the % recycled, salvaged, or diverted and the strategies to do so | The project will provide a dedicated, permanent, and accessible area for the collection and storage of materials for recycling | Provide a brief narrative that summarizes the building materials made of recycled content material | The project will use products that are extracted, processed, and manufactured within 500 miles of the project for a minimum of 50%, based on cost, of the building materials’ value | The project will use wood products of at least 25% by cost that are certified in accordance with the Forest Stewardship Council | The project will use ENERGY STAR complaint roofing | The project will use materials with a solar reflectance of 0.3, over at least 50% of the site’s hardscape area | All composite wood products will be compliant with California 93120 | Any carpet, pad and adhesive will not be installed in entryways, laundry rooms, bathrooms, kitchens/kitchenettes, utility rooms, or any rooms of ground-connected floors. Any carpet products will meet Green Label or Green Label Plus certification. Any hard surface flooring products will be either ceramic tile, unfinished hardwood floors, or in compliance with the FloorScore program criteria | The project will use non-vinyl non-carpet floor coverings in all rooms of the building(s) | The project will install ENERGY STAR-labeled intermittent exhaust fans connected to a light switch and equipped with a humidistat, sensor, or timer | The project will install ENERGY STAR-labeled intermittent exhaust fans connected to a light switch and equipped with a humidistat, sensor, or timer | The project will install power-vented fans or range hoods that exhaust to the outdoors at an intermittent rate of 100 cfm, per ASHRAE 62.2-2010 | The project will install power-vented fans or range hoods that exhaust to the outdoors at an intermittent rate of 100 cfm, per ASHRAE 62.2-2010 | The project will install a ventilation system that will satisfy the fresh air requirements of ASHRAE 62.2-2010 | The project will install a ventilation system that will satisfy the fresh air requirements of ASHRAE 62.2-2010 | All clothes dryers will exhaust directly to the outdoors using rigid-type duct work | All combustion equipment will be power vented or combustion sealed and hard-wired CO detectors will be installed in outside each sleeping area per criteria | All water heaters will be installed with catch pans and drains piped to the exterior of the dwelling | All surfaces in bathrooms, kitchens, and laundry rooms will use materials that have durable and cleanable surfaces | All bathrooms will have non-paper-faced backing materials such as cement board, fiber cement board, or equivalent | The project will install a vapor barrier and capillary break under the slab | The project will install passive-radon features below the slab | The project will install an integrated water drainage system per the Criteria | The project has an attached garage and will install the required details per the Criteria | Provides brief narrative that describes specific tactics and strategies used to for the Integrated Pest Management Plan | The project was built after 1978 | The project will enforce a no-smoking policy | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item | The project will work with Enterprise to collect and monitor energy, water, and if possible healthy living environments data for a minimum of 5 years
Complete this document by signing the Compliance Report Agreement at the bottom of this worksheet. Without the mandatory signatures, this document remains incomplete and the project will not receive Step 2 Certification.
1: INTEGRATIVE DESIGN | [10 empty] | Project is substantial or moderate rehab | Project team designed a minimum of 15% of the dwelling units in accordance with ICC/ANSI A117.1, Type A, Fully Accessible guidelines, and the remaining ground floor units and elevator-reachable units with ICC/ANSI A117.1, Type B | Site qualifies as an infill site and will not be within 100 feet of wetlands, on public parkland, on critical habitat, or the 100 year floodplain | The project is on rural tribal land, in a colonias community, or in a community of population less than 10,000 |  |  | Suburban/Mid-Size Town location: Project is 0.5-mile walk distance of at least three, or a 1-mile walk distance of at least six facilities | The project is located within a 0.25-mile walk distance of dedicated public space of at least 0.75 acres | The project has a set aside of 30% of the total project acreage as additional open space |  |  |  | The project is located on an adaptive reuse site | The project will meet the requirements of Option 2: Community-Supported Agriculture | The project is located in a Stage 3 LEED for Neighborhood Development Certified Neighborhood Development | Site has passed a Tier II Environmental Review Assessment | The project will not disturb soils | Project is not located on a Greenfield | The project will not provide landscaping |  |  | The project will install all kitchen and bathroom faucets | The project will install all showerheads |  | The project will certify under the Northwest ENERGY STAR New Homes Program | The project certify under the ENERGY STAR Multifamily High-Rise program | The project is not a single-family or multifamily (three stories or fewer) rehabilitation | The project is not a multifamily (four stories or more) rehabilitation |  |  | The project is not installing appliances | Project will follow the follow the ENERGY STAR Multifamily High-Rise guidelines | Project is following the ENERGY STAR Multifamily High-Rise prescriptive path and will install fixtures that meet the guidelines | Project will follow the follow the ENERGY STAR Multifamily High-Rise guidelines | The project qualifies as a single-room occupancy and/or designated supportive housing dwelling units | The project is new construction or substantial rehab |  | Project will site, design, engineer and plumb the development to accommodate installation of solar hot water panels in the future | [8 empty] | The project will use wood products of at least 25% by cost that are salvaged wood products | The project will install a green roof on at least 50% of the roof area |  | Particleboard and MDF will not be compliant with California 93120, but all exposed edges will be sealed with low-VOC sealant | Carpet will not be used on this project |  | The project will install ENERGY STAR-labeled continuous bathroom fans that exhaust to outdoors operate continuously at 20 cfm | The project will install ENERGY STAR-labeled continuous bathroom fans that exhaust to outdoors operate continuously at 20 cfm | The project will install power-vented fans or range hoods that exhaust to the outdoors ate a continuous rate of five air changes per hour based on kitchen volume | The project will install power-vented fans or range hoods that exhaust to the outdoors ate a continuous rate of five air changes per hour based on kitchen volume | The project will install a ventilation system that will satisfy the fresh air requirements of ASHRAE 62.2-2010 for all dwelling units and ASHRAE 62.1-2010 for all hallways and common spaces | The project will install a ventilation system that will satisfy the fresh air requirements of ASHRAE 62.2-2010 for all dwelling units and ASHRAE 62.1-2010 for all hallways and common spaces |  | Project will not use combustion equipment |  |  |  | The project will install a 8-mil minimum thickness cross-laminated polyethylene on the crawlspace floor that overlaps and comes up 12 inches on the foundation walls and piers | The project is substantial or moderate rehab and will test for radon and install passive-radon features if necessary | The project is moderate or substantial rehab that is not replacing assemblies called in this criterion | The project does not have an attached garage |  | The project was built before 1978 and will use lead-safe work practices per the EPA’s RRP 40 CFR 745 and applicable HUD requirements at 24 CFR 35
[12 empty] | Project is new construction | Site is previously developed and will not be on prime soils, on public parkland, on critical habitat, on the 100 year floodplain, or on a slope greater than 15% | The project is substantial or moderate rehab |  |  | Rural/Tribal/Small Town location: Project is 2-miles of at least two facilities | The project is classified as an Urban/Small City or a Suburban/Mid-Size Town | The project has a set aside of 40% of the total project acreage as additional open space and submits a written statement of preservation or conservation policy for set-aside land use |  |  |  |  | The project will meet the requirements of Option 3: Proximity to Farmers Market |  | Site has passed an environmental site assessment approved by HUD through the Part 50 or Par 58 process | The project is an infill site with a buildable area smaller than one acre | The project is substantial or moderate rehab |  |  |  |  | The project will install all kitchen and bathroom faucets |  | The project is not single-family or multi-family (three stories or fewer) new construction | The project is not multi-family (four stories or more) new construction | [5 empty] | Project is substantial or moderate rehab and if replacing lighting, will use ENERGY STAR fixtures on all lights and ceiling fans | Project is substantial or moderate rehab and if replacing lighting, will use ENERGY STAR-labeled fixtures, LEDs, T8 fixtures with electronic ballasts or better, or any equivalent high-performance lighting fixtures and bulbs in all common areas | Project is substantial or moderate rehab and if being replaced, will install ENERGY STAR qualified fixtures or LEDs (with a minimum efficacy of 45 lumens/watt) equipped with daylight sensors on all outdoor lighting | The project is moderate rehab |  |  | Project will site, design and engineer the development to accommodate installation of PV and solar hot water panels in the future | [8 empty] | The project will use wood products of at least 25% by cost that are engineered framing materials that do not include urea formaldehyde-based binders | [5 empty] | The project will install a central ventilation system to meet ASHRAE requirements with rooftop fans that meet the 7.4a efficiency requirements | The project will install a central ventilation system to meet ASHRAE requirements with rooftop fans that meet the 7.4b efficiency requirements | The project will install central ventilation systems to meet ASHRAE requirements with rooftop fans that meet the 7.5a efficiency requirements | The project will install central ventilation systems to meet ASHRAE requirements with rooftop fans that meet the 7.5b efficiency requirements | The project is moderate rehab | The project is new construction or substantial rehab |  | Project will not use combustion equipment in the conditioned space and does not have any attached garages |  |  |  | The project is moderate or substantial rehab with no foundation work | The project is in EPA Zone 3 |  |  |  | The project is new construction
| Criteria Item | How Criterion will be Implemented | If necessary, explain how the project deviated from the intended optional points layed out on the 'Intended Methods' worksheet | Criteria Documentation |  | Champion | Intended Points | Achieved Points |  |  |  |  | The project is substantial or moderate rehab |  |  |  | The project is on a rural tribal land, colonias community, and/or in a community of population less than 10,000 | The project is substantial or moderate rehab | [7 empty] | Site has passed an environmental site assessment approved by the USDA through the 1940-G or 1974 process | [6 empty] | The project will install all toilets and showerheads | [9 empty] | Project does not have common areas or emergency lighting | [19 empty] | The project is moderate rehab | The project is new construction or substantial rehab | The project is moderate rehab | The project is new construction or substantial rehab | [8 empty] | The project is moderate rehab
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure | [11 empty] | The project is substantial or moderate rehab | [15 empty] | The project will install all toilets and kitchen / bathroom faucets | [9 empty] | The project does not contain any multifamily housing and is exempt
1.1a | Green Development Plan: Integrative Design Meeting(s) | 0 |  | 0 | 0 | 0 | M | M | [24 empty] | The project will install all showerheads, toilets and kitchen / bathroom faucets
1.1b | Green Development Plan: Criteria Documentation | 0 |  | 0 | 0 | 0 | M | M
1.2a | Universal Design (New Construction only) | 0 |  | 0 | 0 | 0 | 0 | 0
1.2b | Universal Design (Substantial & Moderate Rehab only) | 0 |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0
[7 empty] | Intended Points | Achieved Points
2: LOCATION + NEIGHBORHOOD FABRIC
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Achieved Points
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
2.1 | Site Sensitive Selection (New Construction Only) | 0 |  | 0 | 0 | 0 | M | M
2.2 | Connections to Existing Development and Infrastructure (New Construction only, except for projects located on rural tribal lands, in colonias communities, or in communities of population less than 10,000) | 0 |  | 0 | 0 | 0 | M | M
2.3 | Compact Development (New Construction Only) | Provide the net density and net density calculation for the project. |  | 0 | 0 | 0 | M | M
2.4 | Compact Development | Provide the net density and net density calculation for the project. |  | 0 | 0 | 0 | 0 | 0
2.5 | Proximity to Services (New Construction only) | 0 |  | 0 | 0 | 0 | M | M
2.6 | Preservation of and Access to Open Space | 0 |  | 0 | 0 | 0 | M | M
2.7 | Preservation of and Access to Open Space | 0 |  | 0 | 0 | 0 | 0 | 0
2.8 | Access to Public Transportation | Provide a brief narrative that summarizes the location, quantity and type of public transportation choices around project site |  | 0 | 0 | 0 | 0 | 0
2.9 | Walkable Neighborhoods: Connections to Surrounding Neighborhood | Provide summary of the project’s sidewalk and pathway connections to public spaces, open spaces or adjacent development |  | 0 | 0 | 0 | 0 | 0
2.10 | Smart Site Location: Passive Solar Heating / Cooling | Provide a brief narrative that describe passive solar heating/cooling tactics |  | 0 | 0 | 0 | 0 | 0
2.11 | Brownfield or Adaptive Reuse Site | 0 |  | 0 | 0 | 0 | 0 | 0
2.12 | Access to Fresh, Local Foods | 0 |  | 0 | 0 | 0 | 0 | 0
2.13 | LEED for Neighborhood Development certification | 0 |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0
[7 empty] | Intended Points | Achieved Points
3: SITE IMPROVEMENTS
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Achieved Points
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
3.1 | Environmental Remediation | 0 |  | 0 | 0 | 0 | M | M
3.2 | Erosion and Sedimentation Control (Except for infill sites with buildable area smaller than one acre) | 0 |  | 0 | 0 | 0 | M | M
3.3 | Low Impact Development (New Construction only) | 0 |  | 0 | 0 | 0 | M | M
3.4 | Landscaping | 0 |  | 0 | 0 | 0 | M | M
3.5 | Efficient Irrigation and Water Reuse | Provide a brief narrative describing type of irrigation systems to be implemented |  | 0 | 0 | 0 | M | M
3.6 | Surface Stormwater Management | Provide a brief narrative of the design strategies and systems that will be implemented, and indicate the calculated volume of water being retained, infiltrated, or harvested on site |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0
[7 empty] | Intended Points | Achieved Points
4: WATER CONSERVATION
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Achieved Points
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
4.1 | Water-Conserving Fixtures | 0 |  | 0 | 0 | 0 | M | M
4.2 | Advanced Water-Conserving Appliances and Fixtures | 0 |  | 0 | 0 | 0 | 0 | 0
4.3 | Water Reuse | 0 |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0
[7 empty] | Intended Points | Achieved Points
5: ENERGY EFFICIENCY
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Achieved Points
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
5.1a | Building Performance Standard: Single family & Multifamily, 3 stories or fewer (New Construction only) | 0 |  | 0 | 0 | 0 | M | M
5.1b | Building Performance Standard: Multifamily, 4 stories or more (New Construction Only) | 0 |  | 0 | 0 | 0 | M | M
5.1c | Building Performance Standard: Single family & Multifamily, 3 stories or fewer (Substantial and Moderate Rehab) | 0 |  | 0 | 0 | 0 | M | M
5.1d | Building Performance Standard: Multifamily, 4 stories or more (Substantial and Moderate Rehab) | 0 |  | 0 | 0 | 0 | M | M
5.2 | Additional Reductions in Energy Use | 0 |  | 0 | 0 | 0 | 0 | 0
5.3 | Sizing of Heating and Cooling Equipment and Ducts | 0 |  | 0 | 0 | 0 | M | M
5.4 | ENERGY STAR Appliances | 0 |  | 0 | 0 | 0 | M | M
5.5a | Efficient Lighting: Interior Units | 0 |  | 0 | 0 | 0 | M | M
5.5b | Efficient Lighting: Common Areas and Emergency Lighting (all multifamily projects) | 0 |  | 0 | 0 | 0 | M | M
5.5c | Efficient Lighting: Exterior | 0 |  | 0 | 0 | 0 | M | M
5.6a | Electricity Meter (New Construction and Substantial Rehab only) | 0 |  | 0 | 0 | 0 | M | M
5.6b | Electricity Meter (Moderate Rehab only) | 0 |  | 0 | 0 | 0 | 0 | 0
5.7a | Renewable Energy | Provide brief narrative describing the types of renewable energy system installed and the estimated percentage of energy it will provide for the overall energy demand of the project |  | 0 | 0 | 0 | 0 | 0
5.7b | Photovoltaic / Solar Hot Water Ready | 0 |  | 0 | 0 | 0 | 0 | 0
5.8 | Advanced Metering Infrastructure | 0 |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0
[7 empty] | Intended Points | Achieved Points
6: MATERIALS BENEFICIAL TO THE ENVIRONMENT
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Achieved Points
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
6.1 | Low / No VOC Paints and Primers | 0 |  | 0 | 0 | 0 | M | M
6.2 | Low / No VOC Adhesives and Sealants | 0 |  | 0 | 0 | 0 | M | M
6.3 | Construction Waste Management | Provide a brief narrative that lists the materials in the Construction Waste Management Plan, the % recycled, salvaged, or diverted and the strategies to do so |  | 0 | 0 | 0 | M | M
6.4 | Construction Waste Management: Optional | Provide a brief narrative that lists the materials in the Construction Waste Management Plan, the % recycled, salvaged, or diverted and the strategies to do so |  | 0 | 0 | 0 | 0 | 0
6.5 | Recycling Storage for Multifamily Project | 0 |  | 0 | 0 | 0 | 0 | 0
6.6 | Recycled Content Material | Provide a brief narrative that summarizes the building materials made of recycled content material |  | 0 | 0 | 0 | 0 | 0
6.7 | Regional Material Selection | 0 |  | 0 | 0 | 0 | 0 | 0
6.8 | Certified, Salvaged and Engineered Wood Products | 0 |  | 0 | 0 | 0 | 0 | 0
6.9a | Reducing Heat-Island Effect: Roofing | 0 |  | 0 | 0 | 0 | 0 | 0
6.9b | Reducing Heat-Island Effect: Paving | 0 |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0
[7 empty] | Intended Points | Achieved Points
7: HEALTHY LIVING ENVIRONMENT
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Achieved Points
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
7.1 | Composite Wood Products that Emit Low / No Formaldehyde | 0 |  | 0 | 0 | 0 | M | M
7.2 | Environmentally Preferable Flooring | 0 |  | 0 | 0 | 0 | M | M
7.3 | Environmentally Preferable Flooring: Alternative Sources | 0 |  | 0 | 0 | 0 | 0 | 0
7.4a | Exhaust Fans: Bathroom (New Construction and Substantial Rehab only) | 0 |  | 0 | 0 | 0 | M | M
7.4b | Exhaust Fans: Bathroom (Moderate Rehab only) | 0 |  | 0 | 0 | 0 | 0 | 0
7.5a | Exhaust Fans: Kitchen (New Construction and Substantial Rehab only) | 0 |  | 0 | 0 | 0 | M | M
7.5b | Exhaust Fans: Kitchen (Moderate Rehab only) | 0 |  | 0 | 0 | 0 | 0 | 0
7.6a | Ventilation (New Construction and Substantial Rehab only) | 0 |  | 0 | 0 | 0 | M | M
7.6b | Ventilation (Moderate Rehab only) | 0 |  | 0 | 0 | 0 | 0 | 0
7.7 | Clothes Dryer Exhaust | 0 |  | 0 | 0 | 0 | M | M
7.8 | Combustion Equipment | 0 |  | 0 | 0 | 0 | M | M
7.9a | Mold Prevention: Water Heaters | 0 |  | 0 | 0 | 0 | M | M
7.9b | Mold Prevention: Surfaces | 0 |  | 0 | 0 | 0 | M | M
7.9c | Mold Prevention: Tub and Shower Enclosures | 0 |  | 0 | 0 | 0 | M | M
7.10 | Vapor Barrier Strategies (New Construction and Rehab projects with foundation work only) | 0 |  | 0 | 0 | 0 | M | M
7.11 | Radon Mitigation (New Construction and Substantial Rehab only) | 0 |  | 0 | 0 | 0 | M | M
7.12 | Water Drainage (New Construction and Rehab projects replacing assemblies called out in Criterion only) | 0 |  | 0 | 0 | 0 | M | M
7.13 | Garage Isolation | 0 |  | 0 | 0 | 0 | M | M
7.14 | Integrated Pest Management | Provide a brief narrative that describes specific tactics and strategies used to for the Integrated Pest Management Plan |  | 0 | 0 | 0 | M | M
7.15 | Lead-Safe Work Practices (Substantial and Moderate Rehab only) | 0 |  | 0 | 0 | 0 | M | M
7.16 | Smoke-Free Building | 0 |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0
[7 empty] | Intended Points | Achieved Points
8: OPERATIONS + MAINTENANCE
| Criteria Item | How Criterion will be Implemented | If necessary, provide additional information or explanation of alternative approach to meeting this measure | Criteria Documentation |  | Champion | Intended Points | Achieved Points
|  |  |  | Location of Measure in Project Documents | Spec Page Number / Plan Type for Locating Measure
8.1 | Building Maintenance Manual (all multifamily projects) | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item |  | 0 | 0 | 0 | M | M
8.2 | Resident's Manual | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item |  | 0 | 0 | 0 | M | M
8.3 | Resident and Property Manager Orientation | Provide a brief narrative of how this project specifically creates or fulfills the intentions of this criteria item |  | 0 | 0 | 0 | M | M
8.4 | Project Data Collection and Monitoring System | 0 |  | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0
[7 empty] | Intended Points | Achieved Points
ENTERPRISE GREEN COMMUNITIES CRITERIA | [7 empty] | 0
TOTAL ACHIEVED POINTS
Compliance Report Agreement: |  | The following signatures provide a written commitment demonstrating that all parties involved in the execution and delivery of this project agree that the measures above have been incorporated into the project.
INSTRUCTIONS:
This signature portion is most easily satisfied by either: a) printing the Intended Methods tab and having the various team members fill out and sign their portion or b) using digitial signatures. Both forms of submission will be accepted.
To proceed with Enterprise Green Communities Ceritification, signatures must be provided by at the project manager, architect and general contractor. If these 3 signatures are not present, your building will not proceed through Step 2 of Certification.
MANDATORY SIGNATURES
<Provide Signature of Green Development Team Member> |  |  | <Insert Date>
Project Manager: |  | <PRINT Green Development Team Member's Name>
<Provide Signature of Green Development Team Member> |  |  | <Insert Date>
Architect: |  | <PRINT Green Development Team Member's Name>
<Provide Signature(s) of Green Development Team Member(s)> |  |  | <Insert Date>
General Contractor: |  | <PRINT Green Development Team Member's Name(s)>
OPTIONAL SIGNATURES
<Provide Signature of Green Development Team Member> |  |  | <Insert Date>
Green Building Specialist: |  | <PRINT Green Development Team Member's Name>
<Provide Signature(s) of Green Development Team Member(s)> |  |  | <Insert Date>
Engineer (MEP): |  | <PRINT Green Development Team Member's Name(s)>
<Provide Signature(s) of Green Development Team Member(s)> |  |  | <Insert Date>
Energy and/or System Specialist: |  | <PRINT Green Development Team Member's Name(s)>

## REVISIONS
Date | Section | Revision
2011-01-19 | Project Overview | The section was updated to include additonal data under "Building Overview" to include additional information on mechanical systems.
| Project Overview | The section was updated to include a new "Building Data" section that captures additional information that will be used in evaluation and energy data tracking.
| Intended Methods | The section was updated to include a more robust "Criteria Documentation" section that includes the spec book page number and location in the project documents.
| Compliance Report | The section was updated to have the majority of the cells link back to the intended methods spreadsheet and update automatically.
| Instructions Tab | Instructions tab added to the front of the workbook.
| All Spreadsheets | Certification submittal instructions added to all of the workbooks.
2011-04-04 | Intended Methods | Signatures section updated
| Project Overview | Font change in table
| Compliance Report | Signatures section updated