## Sheet1
Project Name:
Prepared By: | EUL = Expected Useful Life (in years) | [5 empty] | Note: Current funding request must be in the Year 1 Column, unless it's a Critical Needs item. | [9 empty] | Note: Critical Needs column must be used for Preservation Determination only.
Date Last Revised: | ERL = Effective Remaining Life (in years) | [5 empty] | Note: This shall be an "AS-IS", Pre-Rehab Projection | [9 empty] | Note: See Chapter 10 of the Minnesota Housing Design/Construction Standards for Critical Needs determination.
Item | Life Expectancy |  |  | Cost Estimate (Today's $) |  |  | Comments | Critical | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Total
{update as needed} | EUL | Age | ERL | Units | Qty | $ |  | Needs | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20??
Inspectable Area #1
Site and Accessory Structures
Asphalt Repair/Replace | 25 | 0 | 25 | [25 empty] | 0
Concrete Repair/Replace | 30 | 0 | 30 | [25 empty] | 0
Sealcoat/Restripe | 5 | 0 | 5 | [25 empty] | 0
Grading, Drainage, Earthwork, Landscaping | 50 | 0 | 50 | [25 empty] | 0
Play Area/Site Amenities | 20 | 0 | 20 | [25 empty] | 0
Fencing | 25 | 0 | 25 | [25 empty] | 0
Site Signage | 15 | 0 | 15 | [25 empty] | 0
Site Utilities | 40 | 0 | 40 | [25 empty] | 0
Retaining Walls | 20 | 0 | 20 | [25 empty] | 0
Porches/ Decks/ Canopies | 28 | 0 | 28 | [25 empty] | 0
Trash Enclosure/ Sheds | 30 | 0 | 30
Site Drainage Remediation
Tripping Hazard Repair
Site Life-Safety (missing handrails, etc)
Site & Garage Other | [28 empty] | 0
Inspectable Area #2
Structural Integrity
Structural Intregity Items (Critical)
Inspectable Area #3
Building Envelope
Roof Covering - Asphalt/Wood Shingles | 25 | 0 | 25 | [25 empty] | 0
Roof Covering - Built Up/Single Ply | 20 | 0 | 20 | [25 empty] | 0
Roof Covering - Metal | 40 | 0 | 40 | [25 empty] | 0
Exterior Walls - Alum Siding | 15 | 0 | 15 | [25 empty] | 0
Exterior Walls - Masonry | 40 | 0 | 40 | [25 empty] | 0
Exterior Walls - Precast Conc | 50 | 0 | 50 | [25 empty] | 0
Exterior Walls - Vinyl Siding | 30 | 0 | 30 | [25 empty] | 0
Exterior Walls - Cement/Composite | 45 | 0 | 45 | [25 empty] | 0
Exterior Walls - Wood/Stucco/Other | 10 | 0 | 10 | [25 empty] | 0
Exterior Wall Assembly/Insulation | 50 | 0 | 50 | [25 empty] | 0
Soffits/Fascias/Parapets | 25 | 0 | 25 | [25 empty] | 0
Windows - Aluminum | 30 | 0 | 30 | [25 empty] | 0
Windows - Wood Vinyl/Fiberglass | 25 | 0 | 25 | [25 empty] | 0
Skylights | 30 | 0 | 30 | [25 empty] | 0
Doors - Service/Entry | 25 | 0 | 25 | [25 empty] | 0
OH Doors | 20 | 0 | 20 | [25 empty] | 0
Waterproofing (foundations) | 50 | 0 | 50 | [25 empty] | 0
Broken Glass Repair | [28 empty] | 0
Door/Window Lock Repair
Water Penetration Remediation
Foundation Repair
Bldg Envelope Other | [28 empty] | 0
Inspectable Area #4
Common Areas
Garages | 50 | 0 | 50
Furniture, Fixtures, & Equipment (FF&E) | 25 | 0 | 25 | [25 empty] | 0
Cabinetry | 15 | 0 | 15
Doors and Windows - Interior | 30 | 0 | 30
Flooring - Ceramic/Wood/Concrete | 40 | 0 | 40 | [25 empty] | 0
Flooring - Carpet/ Resilient | 7 | 0 | 7 | [25 empty] | 0
Painting/Finishing | 8 | 0 | 8 | [25 empty] | 0
Public Bath - Accessories | 7 | 0 | 7
Public Bath - Plumbing Fixtures | 15 | 0 | 15
Wall/Ceiling Repairs | 20 | 0 | 20 | [25 empty] | 0
Stairs (interior & exterior) | 50 | 0 | 50
Common Area Other | 0 | 0 | 0 | [25 empty] | 0
Inspectable Area #5
Common Plumbing & Sanitation Systems
Common Domestic Water Heater | 15 | 0 | 15
Leaky or Clogged Water/Sewer Piping | [28 empty] | 0
Common Plmbg Fixture Repair/Replacement
Plumbing & Sanitation Other | [28 empty] | 0
Inspectable Area #6
Common Area Mechanical Systems
Common HVAC | 30 | 0 | 30 | [25 empty] | 0
Boiler | 25 | 0 | 25 | [25 empty] | 0
Temperature Controls | 15 | 0 | 15
Mechanical Other | [28 empty] | 0
0
Inspectable Area #7
Common Area Electrical Systems
Light Fixtures
Receptacles, switches, etc.
Service/ Electrical Breakers
Fire Alarm / CO/ NO2 | 10 | 0 | 10 | [25 empty] | 0
Missing/Damaged Fire Extinguishers
Electrical Other
Inspectable Area #8
Elevator (if present)
Elevator Shaft/ Mech/ General
Elevator Cab/ Finishes | [28 empty] | 0
Elevator Other
Inspectable Area #9
Fire Protection
Missing/Damaged Fire Extinguishers
Missing/ Damaged/ Inoperable Fire Sprinkler
Inspectable Area #10
Environmental
Lead-based Paint Remediation
Mold/ Mildew Remediation
Radon Mittigation
Asbestos Containing Mat. Remediation
Enivornmental Other
Inspectable Area #11
Accessibility
Leasing/Public Accessible Route
Accessible Unit (adapt or repair)
Accessible Other
Inspectable Area #12
Other
Graffiti/Vandal Remediation & Resistance
Building Inspector/ Ordinance Compliance
Other
Other
Inspectable Area #13
Dwelling Units (DU)
Kitchen/Bath Cabinets | 20 | 0 | 20 | [25 empty] | 0
Plumbing Fixtures | 20 | 0 | 20 | [25 empty] | 0
Flooring - Carpet | 7 | 0 | 7 | [25 empty] | 0
Flooring - Resilient | 15 | 0 | 15 | [25 empty] | 0
Painting/Finishing | 8 | 0 | 8 | [25 empty] | 0
DU Doors/Entry Door | 30 | 0 | 30 | [25 empty] | 0
Wall Ceiling Repairs | 20 | 0 | 20 | [25 empty] | 0
Kitchen/Range Exhaust
Bath Exhaust
Appliances - Range Hood | 10 | 0 | 10 | [25 empty] | 0
Appliances - Range/Stove Top | 15 | 0 | 15 | [25 empty] | 0
Appliances - Refrigerator | 10 | 0 | 10 | [25 empty] | 0
Appliances - Dishwasher | 15 | 0 | 15 | [25 empty] | 0
Appliances - In Unit Clothes Washer | 15 | 0 | 15 | [25 empty] | 0
Appliances - In Unit Clothes Dryer | 15 | 0 | 15 | [25 empty] | 0
Window Coverings | 20 | 0 | 20 | [25 empty] | 0
Smoke/CO Detectors | 10 | 0 | 10 | [25 empty] | 0
Unit Wiring/Receptacles/Switches | 30 | 0 | 30 | [25 empty] | 0
Window/Thru-Wall AC | 12 | 0 | 12 | [25 empty] | 0
Water Heater | 7 | 0 | 7 | [25 empty] | 0
Packaged HVAC | 25 | 0 | 25 | [25 empty] | 0
DU Other | [28 empty] | 0
General Conditions, Overhead & Profit
General Conditions (6% Max)
Overhead (2% Max)
Profit (6% Max)
Uninflated Totals | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inflation Factor (3%) | [8 empty] | 1.03 | 1.06 | 1.09 | 1.13 | 1.16 | 1.19 | 1.23 | 1.27 | 1.3 | 1.34 | 1.38 | 1.43 | 1.47 | 1.51 | 1.56 | 1.6 | 1.65 | 1.7 | 1.75 | 1.81
Inflated Totals | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL PROPOSED REHAB (Critical Needs + Year One) | [8 empty] | 1: 0
Preparer Certification
I certify that this 20 Year Capital Expenditure Template is a true and accurate assessement of this property's condition.
The costs indicated are based upon industry standards, current cost estimates, and/ or based upon the preparer's experience.
I also certify that this document was prepared by me or under my direct supervision.
Printed Name
Signature
Date Property Inspected
Attachments: